The European Commission support for the production of this publication does not constitute an endorsement of the contents which reflects the views only of the authors, and the Commission cannot be held responsible for any use which may be made of the information contained therein.

Occupational risk prevention

UK Virtual reality case study

Safe isolation

Introduction

By a worker understanding the dangers they may encounter while working in the electrical industry worksites, they are less likely to endanger themselves or others.

About the learning material

This VR (Virtual Reality) case study will enable the learners to view and interact with the working environments in the safety of the classroom environment.

Learners should explore at their own pace giving them greater depth of the working environment than traditional resources such as posters, hand-outs and books.

Resource required

How to watch the VR video:

- On a computer you can use the mouse to move around the room.

- On Tablets and Smartphones. The use of hand held mobile devices such as iPhones, iPads or similar devices will give a better result with the ability to use the real time motion tracking sensors. You can download VR apps from Google Play or APP Store

The video is in HD and contains sound; therefore a high speed internet access is required (free at the point of use to the learner is recommended).

Follow the link to open the resource: https://youtu.be/w5Uum3PPOps

Assessment

Formative

Use the sequence cards provides to assess the learners understanding .

Additional Questions

Additional question could be asked by the teacher or by learner enquiry once the video tour is complete, for example use a open question such as “why is the meter checked twice?”

Occupational risk prevention

UK Virtual reality case study

Safe isolation

Safe isolation sequence test

Class activity

- Arrange the class into groups.

- Print and cut out these cards.

Turn off all circuit breakers.

Challege your students to place the cards in the correct order.

#

Turn off main switch

Lock off and label.

Remove cover

Check and prove meter

Test between live and neutral

Test between live and CPC (Earth)

Test between neutral and CPC (Earth)

Recheck and prove meter